## General Information
Quantitative Ricin ELISA eZYDIAG®
Laboratory
Date
Operator
Opening date of the kit and reagents
Number of previous uses of the kit
Shaker (brand, model)
Washer (brand, model)
Compliance with washing protocols*: yes/no
Reader (brand, model)
Protocol start time
Protocol end time
Laboratory temperature
REMARKS
V-EN-20240416 | Page 1/3

## Plate Plan-OD input
Quantitative Ricin ELISA eZYDIAG®
Laboratory | [10 empty] | Batch Kit
Date | (yyyy/mm/dd) | [9 empty] | Expiry date
Operator
PLATE PLAN
| STANDARDS |  |  | ENTER THE IDENTIFIER OF EACH OF YOUR SAMPLES IN THE BOXES
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | STD 500 | STD 31,25 | STD 0 | Sample N°3 | Sample N°7 | Sample N°11 | Sample N°15 | Sample N°19 | Sample N°23 | Sample N°27 | Sample N°31 | Sample N°35
B
C | STD 250 | STD 15,6 |  | Sample N°4 | Sample N°8 | Sample N°12 | Sample N°16 | Sample N°20 | Sample N°24 | Sample N°28 | Sample N°32 | Sample N°36
D
E | STD 125 | STD 0 | Sample N°1 | Sample N°5 | Sample N°9 | Sample N°13 | Sample N°17 | Sample N°21 | Sample N°25 | Sample N°29 | Sample N°33 | Sample N°37
F
G | STD 62,5 |  | Sample N°2 | Sample N°6 | Sample N°10 | Sample N°14 | Sample N°18 | Sample N°22 | Sample N°26 | Sample N°30 | Sample N°34 | Sample N°38
H
Experimental data to be entered in Absorbance Unit = (DO 450 nm) - (DO 630 or 620 nm)
(Respect the plate plan defined above)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
REMARKS/OBSERVATIONS
[11 empty] | V-EN-20240416 | Page 2/3

## Results
Quantitative Ricin ELISA eZYDIAG®
Laboratory | [5 empty] | Kit Batch
Date | [5 empty] | Expiry Date
Operator
QUANTITATIVE PROTOCOL
Standards 0 Non-specific binding |  |  |  |  | Calculation of detection limits and quantification
Abs (OD) |  | Mean (OD) = |  |  | LOD (pg/mL) = |  | Detection limit
|  | Standard Deviation SD = |  |  | LOQ (pg/mL) = |  | Limit of quantification
|  | Mean + 3 SD = |  |  | Saturation (OD) = |  | Saturation signal
Mean + 10 SD =
Gamme standard
Ricin (pg/mL) | Abs 1 (OD) | Abs 2 (OD) | Mean (OD) | [5 empty] | 0 | 0 | 0 | #DIV/0! | 0 | Moyenne (DO) = | #DIV/0!
500 |  |  | ABSENT | [5 empty] | 0 | 0 | 0 | #DIV/0! | 0 | Ecart type ET = | #DIV/0!
250 |  |  | ABSENT | [5 empty] | 0 | 0 | 0 | #DIV/0! | 0 | Moy + 3 ET = | #DIV/0!
125 |  |  | ABSENT | [5 empty] | 0 | 0 | 0 | #DIV/0! | 0 | Moy + 10 ET = | #DIV/0!
62.5 |  |  | ABSENT | [5 empty] | 0 | 0 | 0 | #DIV/0! | 0
31.25 |  |  | ABSENT | [5 empty] | 0 | 0 | 0 | #DIV/0! | 0
15.625 |  |  | ABSENT | [5 empty] | 0 |  |  | #DIV/0! | 0
0
Calibration curve parameters (y = Ax2+Bx+C)
|  | A | #VALUE!
|  | B | #VALUE!
|  | C | #VALUE!
Correlation coefficient |  | R² | #VALUE!
Sample Results
|  | Sample | Abs 1 (OD) | Abs 2 (OD) | Mean (OD) | Results (concentration in the well pg/mL)
|  | Sample N°1 | [6 empty] | 0 | 0 |  | Invalid Result (LOD>LOQ)
|  | Sample N°2 | [6 empty] | 0 | 0 |  | Out of range
|  | Sample N°3 | [6 empty] | 0 | 0 |  | Negative (<LOD)
|  | Sample N°4 | [6 empty] | 0 | 0 |  | Positive non quantifiable (<LOQ)
|  | Sample N°5 | [6 empty] | 0 | 0 |  | Invalid Result (STD500 <0.7)
|  | Sample N°6 | [6 empty] | 0 | 0 |  | Invalid Result (STD0 > 0.05)
|  | Sample N°7 | [6 empty] | 0 | 0
|  | Sample N°8 | [6 empty] | 0 | 0
|  | Sample N°9 | [6 empty] | 0 | 0
|  | Sample N°10 | [6 empty] | 0 | 0
|  | Sample N°11 | [6 empty] | 0 | 0
|  | Sample N°12 | [6 empty] | 0 | 0
|  | Sample N°13 | [6 empty] | 0 | 0
|  | Sample N°14 | [6 empty] | 0 | 0
|  | Sample N°15 | [6 empty] | 0 | 0
|  | Sample N°16 | [6 empty] | 0 | 0
|  | Sample N°17 | [6 empty] | 0 | 0
|  | Sample N°18 | [6 empty] | 0 | 0
|  | Sample N°19 | [6 empty] | 0 | 0
|  | Sample N°20 | [6 empty] | 0 | 0
|  | Sample N°21 | [6 empty] | 0 | 0
|  | Sample N°22 | [6 empty] | 0 | 0
|  | Sample N°23 | [6 empty] | 0 | 0
|  | Sample N°24 | [6 empty] | 0 | 0
|  | Sample N°25 | [6 empty] | 0 | 0
|  | Sample N°26 | [6 empty] | 0 | 0
|  | Sample N°27 | [6 empty] | 0 | 0
|  | Sample N°28 | [6 empty] | 0 | 0
|  | Sample N°29 | [6 empty] | 0 | 0
|  | Sample N°30 | [6 empty] | 0 | 0
|  | Sample N°31 | [6 empty] | 0 | 0
|  | Sample N°32 | [6 empty] | 0 | 0
|  | Sample N°33 | [6 empty] | 0 | 0
|  | Sample N°34 | [6 empty] | 0 | 0
|  | Sample N°35 | [6 empty] | 0 | 0
|  | Sample N°36 | [6 empty] | 0 | 0
|  | Sample N°37 | [6 empty] | 0 | 0
|  | Sample N°38 | [6 empty] | 0 | 0
Operator Visa :
Validation :
[7 empty] | V-EN-20240416 | Page 3/3
MULTIPLY RESULTS BY 2 TO GET THE FINAL CONCENTRATION IN PATIENT SAMPLES.